## NT Items List
SNA Associates India Pvt Ltd |  |  |  |  | QUOTATION
21st Floor, Unit 2111, DLF Corporate Greens,
Southern Peripheral Road, Sector-74A,
Gurgaon Haryana,122004
E Mail: info @snassociates.org.in
Tel: +91-124-2663300 |  |  |  |  | QUOTATION NO |  |  | DATE
web: www.snassociates.org.in |  |  |  |  | SNA/2025-26/101/R2 |  |  | 2026-04-15
Billing Address/ Gurugram Registered Address:- | [7 empty] | VALID 15 Days
SNA Associates India Pvt Ltd
Unit No. 2111, 21st Floor, DLF Corporate Greens Southern Peripheral Road |  |  |  |  | OUR BANK DETAILS:- NAME :- S N ASSOCIATES ACCOUNT NO:- 000263700002842 IFSC CODE:- YESB0000002 BANK NAME:- YES BANK LIMITED BRANCH:- FORTUNE GLOBAL ARCADE, SIKANDERPUR MEHRAULI,GURGAON ROAD,HARYANA-122002
DLF Corporate Greens Southern Peripheral Road |  |  |  |  | NAME :- SNA ASSOCIATES INDIA PVT LTD
Sector-74A Gurugram 122004 Haryana INDIA |  |  |  |  | ACCOUNT NO:- 001663300010634
GST No-: 06ABOCS7059K1ZM |  |  |  |  | IFSC CODE:- YESB0000016
PAN No. ABOCS7059K |  |  |  |  | BANK NAME:- YES BANK LIMITED
CUSTOMER INFO |  |  |  |  | BRANCH:- E-18, GF & FF SOUTH EXTENSION
CLIENT'S NAME - ATRIUM PLACE DEVELOPERS PVT. LTD. |  |  |  |  | PART-2, NEW DELHI -110048
Project : DLF Hines The Atrium Place, Udyog Vihar, Phase-v, GGN
Sr. No | Item Description | Code | Area | Unit | Qty. | Rate | Amount | Remarks
1 | Providing, fixing, and executing core cutting of 100 mm diameter using appropriate core cutting machine in RCC/brickwork, including all labor, equipment, safety measures, and finishing the edges to required standards (250mm thick). |  | male and female toilets, lockers | Nos. | 15 | 3059 | 45885
2 | Providing and applying waterproofing treatment in toilets/wet areas using polymer-based or cementitious coating, including surface preparation, treatment of joints and corners with sealing tape, and two or more coats of waterproofing compound, complete. |  | wet area | Sqm | 500 | 1245 | 622500
3 | Providing and applying seamless acoustic plaster system on walls/ceilings, comprising surface preparation, application of bonding agent/primer, base plaster layer, and acoustic finish coat (spray/trowel applied) to achieve NRC as specified, including all materials, labor, scaffolding, and finishing, complete. |  | Gym, studio | Sqm | 240 | 5486 | 1316640 | Applicator Basic Rate = Rs. 3800/ sqm
4 | Dri-Dek is a 12”x12”x9/16” interlocking square made from virgin Oxy-B1 polyvinyl chloride that is flame and chemical resistant. Each square has a knobby, perforated surface with the brand name Dri-Dek in two corners. Material: (DDK-05) Oxy-B1 Vinyl Tile Size: 12”x12”x9/16” Weight: 14.5oz. per Dri-Dek 12”x12”x9/16” Tile. Additives: Oxy-B1, Ultraviolet Stabilizers Tensile Strength: 2750 PSI (ASTM D 412) Weather Resistance: 96% retention of Elongation 107% retention of 100% Modulus 98% retention of Tensile Strength 99% retention of Color (Weatherometer @ 720 hours) Elongation: 348% Temperature Range: Designed for continuous environments from -30° F and not exceeding 167° F (ASTM D 746) |  | Wet area | Sqm | 35 | 12592 | 440720 | Applicator Basic Rate = Rs. 8800/ sqm
5 | Supplying and Laying over existing self leveling floor Kraiburg (Germany) multipurpose sportec uni classic 8mm sandwich system consists of a technically advanced elastic layer made from Sportec standard material which prevents damage to joints and the other injury, having two components 4mm top layer weighing 5.1kg/m2 made of fine grain EPDM color granuals bonded with PU elastomer having subbase sportec 4mm weighing 3.10 m2 elastic layer made of fine grain recycled Tyre rubber bonded with PU elastomer manufactured with stringent European standard and comply with all EN norms |  |  |  |  | 0 |  | Applicator Basic Rate = Rs. 9000/ sqm
a | VYN | 1 | Gym area | Sqm | 290 | 12648 | 3667920
b | VYN | 2 | Gym area | Sqm | 185 | 12648 | 2339880
c | VYN | 3 | Gym area | Sqm | 30 | 12648 | 379440
d | VYN red | 4 | Gym area | Sqm | 25 | 12648 | 316200
e | VYN | 5 | wet area | Sqm | 18 | 12648 | 227664
f | VYN | 6 | wet area | Sqm | 40 | 12648 | 505920
6 | Laying natural stone flooring (marble/granite/kota/sandstone) of thickness 18 mm over cement mortar bed (1:4) or approved adhesive, including surface preparation, cutting, laying, alignment, joint filling with white/colored cement, grinding, and polishing to required finish, complete as per specifications. (sTONE TO BE PROVIDED BY CLIENT) |  | Reception area | Sqm | 10 | 4503 | 45030
7 | Providing and filling with approved quality khanger material in layers not exceeding upto 100 mm thickness, including spreading, watering, and compaction with plate compactor/roller to achieve proper consolidation, up to a total compacted thickness of 300 mm, complete as per specifications |  | wet area | Sqm | 300 | 1200 | 360000
8 | WOODEN SPRUNG FLOOR (WD - 02 ) Species: Oak Appearance class/grade: Original Finished face width: 117mm Finished thickness: 21mm Edges: 4-sides tongue and grooved with square edges. Moisture content at time of fixing: 9% ± 2% manufacturer’s tolerance. Method of fixing/joining strips/boards: Secret Nailed to Kiln Dried softwood battens Finish: Factory Finish ProStrong Lacquer. System Components: Floor finish: Trendsport 21 x 150 x 1170mm Support battens: Battens: 25 x 43 x 1800mm Batten centres: 390mm Cradle centres (along support battens): 300mm Sports cradles: Size: 25mm leg / 20mm base Cradle centres (along support battens): 300mm Accessories: Interlocking cradle base packers: 2mm / 5mm Cradle base packers: Interlocking cradle base packers: 10mm / 30mm Total Floor Height Achievable: 66mm – 86mm. |  | Studio | Sqm | 100 | 6324 | 632400 | Applicator Basic Rate = Rs. 4500/ sqm
9 | CARPET FLOORING (CP - 01 ) Providing and laying carpet of 1st class quality of approved make & shade include cost of adhesives, fixing , cutting welding of carpet etc. complete in all respects. | CP01 | reception area | Sqm | 35 | 4918 | 172130 | Applicator Basic Rate = Rs. 3500/ sqm
10 | Providing and laying Plain Cement Concrete of grade M15 using cement, sand, and graded aggregates in specified proportion, including mixing by machine, laying in layers, compacting, leveling, finishing, and curing, complete as per specifications. (100mm thick) |  | Gym and | Sqm | 800 | 1086 | 868800
11 | Providing and applying polymer-modified cementitious micro topping (micro-concrete overlay) of thickness 30mm-40mm over existing concrete/IPS surface, including surface grinding, crack repair, primer application, laying of micro topping in required layers, trowel finish, curing, and protective sealer coat, complete as per manufacturer specifications. | RF 01 | Reception area | Sqm | 65 | 4865 | 316225 | Applicator Basic Rate = Rs. 3400/ sqm
12 | Providing and applying 12-15 mm thick cement plaster in cement mortar 1:4 (1 cement : 4 fine sand) on walls/ceilings, including raking of joints, surface preparation, applying plaster in proper line and level, finishing smooth/rough as required, and curing, complete as per specifications. |  |  | Sqm | 500 | 710 | 355000
13 | Providing & Applying of Hacking over already laid surface to get PCC & waterproofing over it and removal of debris from site. |  |  | Sqm | 1300 | 161 | 209300
14 | Providing, cutting, bending, placing, and fixing of TMT reinforcement steel in floor slab, including tying with binding wire, maintaining proper cover using cover blocks, as per approved structural drawings and specifications. |  |  | kg | 3000 | 125 | 375000
15 | Providing and laying 150 mm thick AAC block masonry using standard size AAC blocks (600x200x150 mm) in cement mortar 1:4 / approved AAC adhesive, laid in true line, level and plumb, including all cutting, scaffolding, curing, etc. complete as per drawings and directions of Engineer-in-Charge. |  |  | Cum | 25 | 14975 | 374375
16 | Providing, fabricating and laying Reinforced Cement Concrete (RCC) band and mullion of required size and thickness, using M20 grade concrete (1:1.5:3 or design mix), including centering, shuttering, strutting, propping, and reinforcement steel (Fe500 TMT bars), cutting, bending, binding with annealed wire, placing in position, vibrating, curing, and finishing, complete in all respects as per drawings and direction of Engineer-in-Charge.
a | Size : 1000mm L x 100mm W x 150mm H |  |  | Rmt | 15 | 3125 | 46875
b | Size : 1000mm L x 150mm W x 200mm H |  |  | Rmt | 15 | 2905 | 43575
17 | Providing and laying Plain Cement Concrete of grade M20 using cement, sand, and graded aggregates in specified proportion, including mixing by machine, laying in layers, compacting, leveling, finishing, and curing, complete as per specifications. |  |  | Cum | 50 | 11500 | 575000
18 | Providing and laying IPS Flooring of grade M25 using cement, sand, and graded aggregates in specified proportion, including mixing by machine, laying in layers, compacting, leveling, finishing, and curing, complete as per specifications. |  |  | Cum | 35 | 13200 | 462000
19 | Providing and filling with approved quality khanger material in layers not exceeding upto 500 mm thickness, including spreading, watering, and compaction with plate compactor/roller to achieve proper consolidation, up to a total compacted thickness of 300 mm, complete as per specifications |  |  | Sqm | 400 | 4790 | 1916000
Thank you for your Business! |  |  |  | SUBTOTAL |  |  | 16614479
|  |  |  | TOTAL QUOTE |  |  | 16614479
GST EXTRA
TERMS & CONDITION :
1. GST will be charge extra as per actual .
2. Above price includes supply & installation.
Declaration | [6 empty] | For SNA ASSOCIATES INDIA PVT LTD
We declare that this Quotation show the actual price of the
goods described and that all particulars are true and correct.
Authorised Signatory
This is Computer Generated Quotation