## Table 1
BID SHEET FOR PART A1 - ON LUMPSUM RATE BASIS
|  |  | sqm | sqft |  | Rate/sqm or Rate/sqft |  | Amount
1 | BASEMENT
1a | Basement area - covered area |  | 151.15 | 1624.86
2 | GROUND FLOOR
2a | Ground fl - covered area |  | 160.62 | 1726.67
2b | Ground fl - Protected open area |  | 32.85 | 353.14
3 | FIRST FLOOR
3a | First fl - covered area |  | 147.56 | 1586.27
3b | First fl - Protected open area |  | 10.14 | 109.01
3c | First fl - Projected uncovered area |  | 8.7 | 93.53
4 | SECOND FLOOR
4a | Second fl - covered area |  | 154.6 | 1661.95
4b | Second fl - Protected open area |  | 16.45 | 176.84
5 | MUMTY
5a | Mumty - covered area |  | 23.62 | 253.92
| TOTAL FOR PART A1 |  | 682.07 | 7332.2525
Add for GST
GROSS TOTAL FOR PART A1
BID SHEET FOR PART A2 - ON LUMPSUM RATE BASIS
|  |  | sqm | sqft |  | Rate/sqm or Rate/sqft |  | Amount
1 | BASEMENT
1a | Basement area - covered area |  | 151.15 | 1624.86
2 | GROUND FLOOR
2a | Ground fl - covered area |  | 160.62 | 1726.67
2b | Ground fl - Protected open area |  | 32.85 | 353.14
3 | FIRST FLOOR
3a | First fl - covered area |  | 147.56 | 1586.27
3b | First fl - Protected open area |  | 10.14 | 109.01
3c | First fl - Projected uncovered area |  | 8.7 | 93.53
4 | SECOND FLOOR
4a | Second fl - covered area |  | 154.6 | 1661.95
4b | Second fl - Protected open area |  | 16.45 | 176.84
5 | MUMTY
5a | Mumty - covered area |  | 23.62 | 253.92
| TOTAL FOR PART A2 |  | 682.07 | 7332.2525
Add for GST
GROSS TOTAL FOR PART A2
*
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
SUMMARY OF EXTERNAL WORKS
(ON ITEM-RATE BASIS)
|  | SUBHEADS | [6 empty] | AMOUNT
1 |  | DISMANTLING WORKS |  |  |  |  | Rs
2 |  | EARTH WORK |  |  |  |  | Rs
3 |  | CONCRETE WORK |  |  |  |  | Rs
4 |  | REINFORCED CEMENT CONCRETE |  |  |  |  | Rs
5 |  | MASONRY WORK |  |  |  |  | Rs
6 |  | STONE WORK |  |  |  |  | Rs
7 |  | STEEL WORK |  |  |  |  | Rs
8 |  | FLOORING |  |  |  |  | Rs
9 |  | ROOFING |  |  |  |  | Rs
10 |  | FINISHING |  |  |  |  | Rs
11 |  | WATER PROOFING |  |  |  |  | Rs
12 |  | PLUMBING WORKS |  |  |  |  | Rs
13 |  | EXTERNAL ELECTRICAL WORKS |  |  |  |  | Rs
|  | TOTAL FOR EXTERNAL WORKS | [6 empty] | -
Add for GST
GROSS TOTAL FOR EXTERNAL WORKS
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
1 |  | DISMANTLING WORKS
The Dismantling work shall involve disposing the debris to suitable dumping yard as may be approved by authority including transport and necessary licence fees as may be required, the rates to be quoted accordingly - the item description of '50mt lead' is for temporary stacking only.
1.1 |  | Demolishing cement concrete manually/ by mechanical means including disposal of material within 50 metres lead as per direction of Architect/owner
1.1.1 |  | Concrete of any mix |  | 2 | cum
1.2 |  | Demolishing brick work manually/ by mechanical means including stacking of serviceable material and disposal of unserviceable material within 50 metres lead as per direction of Architect/owner.
|  | In cement mortar |  | 3 | cum
1.3 |  | Dismantling /chasing out stone slab,terrazzo,tile flooring laid in cement mortar including stacking of serviceable material and disposal of unserviceable material within 50 metres lead. |  | 15 | sqm
1.4 |  | Dismantling/chasing old plaster or skirting/dado raking out joints and cleaning the surface for plaster including disposal of rubbish to the dumping ground within 50 metres lead. |  | 25 | sqm
TOTAL OF DISMANTLING WORKS
2 |  | EARTH WORK
2.1 |  | Earth work in excavation by mechanical means (Hydraulic excavator)/manual means over areas (exceeding 30 cm in depth, 1.5 m in width as well as 10 sqm on plan) including getting out and lift upto 2.0 m. Item also includes as below
Filling available excavated earth (excluding rock) in trenches, plinth, sides of foundations etc. in layers not exceeding 20cm in depth, consolidating each deposited layer by ramming and watering, lead up to 50 m .
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
2.1.1 |  | All kinds of soil |  | 20 | cum
2.2 |  | Providing and applying antitermite treatment with chloropyriphos or equivalent diluted as per manufacturer specifications.
2.2.1 |  | With Chlorpyriphos/ Lindane E.C. 20% with 1% concentration |  | 50 | sqm
2.3 |  | Providing and laying layer of graded stone aggregates mixed with coarse sand ( 40mm - 20mm) and compacted in layers over rammed earth to form compacted Hardcore layer including sprinkling water and coarse sand complete. The compacted thickness of the hardcore layer shall be measured for payment. |  | 10 | cum
TOTAL OF EARTH WORK
3 |  | CONCRETE WORK
3.1 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.1.1 |  | 1:4:8 (1 Cement : 4 coarse sand (zone-III) : 8 graded stone aggregate 40 mm nominal size) |  | 10 | cum
3.2 |  | Providing and laying in position cement concrete of specified grade excluding the cost of centering and shuttering - All work up to plinth level :
3.2.1 |  | 1:2:4 (1 cement : 2 coarse sand (zone-III) derived from natural sources : 4 graded stone aggregate 20 mm nominal size derived from natural sources) |  | 15 | cum
TOTAL OF CONCRETE WORK
4 |  | REINFORCED CEMENT CONCRETE
4.1 |  | Centering and shuttering including strutting, propping etc. and removal of form for :
4.1.1 |  | Suspended floors, roofs, landings, balconies and beams |  | 20 | sqm
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
4.1.2 |  | Columns, Pillars, Piers, Abutments, Posts and Struts |  | 15 | sqm
4.2 |  | Steel reinforcement for R.C.C. work including straightening, cutting, bending, placing in position and binding all complete at all levels.
4.2.1 |  | Thermo-Mechanically Treated bars of grade Fe-500D or more. |  | 850 | Kg
4.3 |  | Providing and laying in position ready mixed M-25 grade concrete for reinforced cement concrete work, using cement content as per approved design mix, manufactured in fully automatic batching plant and transported to site of work in transit mixer for all leads, having continuous agitated mixer, manufactured as per mix design of specified grade for reinforced cement concrete work, including pumping of R.M.C. from transit mixer to site of laying , excluding the cost of centering, shuttering finishing and reinforcement, including cost of admixtures in recommended proportions as per IS : 9103 to accelerate/ retard setting of concrete, improve workability without impairing strength and durability as per direction of the Engineer-in-charge. (Note :- Cement content considered in this item is @ 330 kg/ cum.Excess/less cement used as per design mix is payable/recoverable
4.3.1 |  | All works upto plinth level |  | 10 | cum
4.3.2 |  | All works above plinth level upto 20mt level |  | 6 | cum
TOTAL OF REINFORCED CEMENT CONCRETE
5 |  | MASONRY WORK
5.1 |  | Brick work with common burnt clay F.P.S. (non modular) bricks of class designation 7.5 with Cement mortar 1:6 (1 cement : 6 coarse sand) in superstructure above plinth level up to 20mt level in all shapes and sizes in :
5.1.1 |  | In fondation upto plinth level |  | 15 | cum
5.1.2 |  | in superstructure above plinth level |  | 15 | cum
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
5.2 |  | Providing and laying factory made Precast concrete solid blocks of 200 mm thickness of grade M10 made of C&D waste from approved manufacturer in superstructure above plinth level
|  | Cement mortar 1:6 (1 cement : 6 coarse sand) |  | 6 | cum
5.2 |  | Providing and laying half brick work in walls in cement mortar 1:4 ( 1 cement: 4 coarse sand) in superstructure including laying 2 nos 8mm dia steel reinforcement bars at every fourth course complete |  | 20 | sqm
TOTAL OF MASONRY WORK
6 |  | STONE WORK
6.1 |  | Providing and fixing stainless steel cramps of required size and shape for anchoring stone wall lining to the backing or securing adjacent stones in stone wall lining in cement mortar 1:2 (1 cement : 2 coarse sand), including making the necessary chases in stone and holes in walls wherever required.
6.1.1 |  | Fish tail dowels made from 5mm thick SS flat of approx size 32x140mm |  | 25 | kg
6.1.1 |  | slotted 'L' shaped dowels made from 5mm thick SS flat of approx size 32x120mm secured to RCC by dash fastener of approved make ( only the weight of dowel to be measured for payment) |  | 15 | kg
6.2 |  | Stone work (machine cut edges) for wall lining etc. (veneer work) at any height, backing filled with a grout of average 18 mm thick cement mortar 1:3 (1 cement : 3 coarse sand) including recessed pointing in white cement mortar 1:2 (1 white cement : 2 stone dust) with an admixture of pigment matching the stone shade : (To be secured to the backing and the sides by means of cramps and pins which shall be paid for separately) : etc. as per direction of Architect
Only the uncut stone shall be owner supplied
6.2.1 |  | All kind of sandstone |  | 40 | sqm
6.2.2 |  | All kind of Granite |  | 15 | sqm
TOTAL OF STONE WORK
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
7 |  | STEEL WORK
7.1 |  | Structural steel work riveted, bolted or welded in built up sections, trusses and framed work in MS pipes and tubes, including cutting, hoisting, fixing in position and applying a priming coat of approved steel primer and finishing with min. 2 coats of epoxy paint all complete. |  | 200 | kg
7.2 |  | Providing and fixing M.S. grills of required pattern in frames of windows etc. with M.S. flats, square or round bars etc. including priming coat with approved steel primer and finishing with min. 2 coats of epoxy paint all complete.
7.2.1 |  | Fixed to masonry/concrete openings or wooden frames with rawl plugs screws etc. |  | 550 | kg
7.3 |  | Steel work welded in built up sections/ framed work using Stainless steel sections and tudes or SS plates, including cutting, hoisting, fixing in position and applying finishing coats finishing with PU paint ( or PVD coated finish) complete in all respect
7.3.1 |  | In gratings, frames, guard bar, ladder, railings, brackets, gates and similar works |  | 900 | kg
TOTAL OF STEEL WORK
8 |  | FLOORING
8.1 |  | Cement concrete flooring 1:2:4 (1 cement : 2 coarse sand : 4 graded stone aggregate) finished with a floating coat of neat cement, including cement slurry, but excluding the cost of nosing of steps etc. complete.
8.1.1 |  | 50 mm thick with 20 mm nominal size stone aggregate |  | 40 | sqm
8.2 |  | 30 mm thick fine dressed stone flooring over 20 mm (average)thick base of cement mortar 1:5 (1 cement : 5 coarse sand) including pointing with cement mortar 1:2 (1 cement : 2 stone dust) with an admixture of pigment to match the shade of stone. (stone shall be owner supplied)
8.2.1 |  | using owner supplied sand stone/kota stone |  | 10 | sqm
8.2.1 |  | using owner supplied Granite |  | 15 | sqm
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
8.3 |  | Laying of matt Vitrified tiles in different sizes (thickness to be specified by manufacturer) with water absorption less than 0.08 % and conforming to I.S. 15622, of approved make in all colours & shade in skirting, riser of steps, over min. 25mm cem mortar (1:5) on flooring and 12 mm thick bed of cement mortar 1:3 (1cement: 3 coarse sand) on skirting etc., jointing with grey cement slurry @ 3.3kg/sqm including grouting the joint with white cement & matching pigments etc. complete.
8.3.1 |  | using owner supplied vitrified tile of any size |  | 50 | sqm
TOTAL OF FLOORING
9 |  | ROOFING
9.1 |  | Providing and fixing 50 mm thick extruded polystyrene rigid insulation board of required size underdeck on ceiling surface, complying with ISO 4898:2008 & ASTM C 578-08b - type VI, having thermal conductivity of 0.0289 W/m K as per ASTM C 578 (measured as per IS 3346), compressive strength of > 350 kPa listed as per ASTM D 1621, density of 34-36 kg/cum as per ASTM D 1622, water absorptions ? 1% by volume as per ASTM D 2842, oxygen index of 24.1 to 28.1 listed as per ASTM D 2863, cell size 0.4 mm of dia (max) as per ASTM D 3576. Fire retardent property as per DIN 4102, Part 1 of class B2 and as per ASTM E84 class A, fixed with suitable water based adhesive and fastener, |  | 25 | sqm
TOTAL OF ROOFING
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
10 |  | FINISHING
10.1 |  | cement plaster over masonry or concrete wall
2010-01-01 |  | 12/15 mm cement plaster of mix 1:5 (1 cement: 5 coarse sand) |  | 50 | sqm
2010-01-02 |  | min 20mm thick cement plaster in two layers - underlayer of 12mm plaster of mix 1:3 (1 cement: 3 coarse sand) and upper layer of minimum 8mm thickness of mix 1:5 (1 cement: 5 coarse sand) |  | 90 | sqm
10.2 |  | Providing and fixing clay brick tiles of approx thkness of 20mm ( size 230X75mm) over masonry/RCC surface with average back mortar 1:3 cement mortar of thkness 20mm including grooves in between finished with grey cement 1:2 mortar complete |  | 100 | sqm
10.3 |  | Wall painting with acrylic emulsion paint, having VOC (Volatile Organic Compound ) content less than 50 grams/ litre, of approved brand and manufacture, including applying additional coats wherever required, to achieve even shade and colour with min two coats. |  | 50 | sqm
10.4 |  | Finishing walls with 100% Premium acrylic emulsion paint having VOC less than 50 gm/litre and UV resistance as per IS 15489:2004, Alkali & fungal resistance, dirt resistance exterior paint of required shade (Company Depot Tinted) with silicon additives with min two coats. |  | 90 | sqm
10.5 |  | Providing and applying 12 mm thick (average) premixed formulated one coat gypsum lightweight plaster having additives and light weight aggregates as vermiculite/ per liter respectively conforming to IS: 2547 (Part- 1 & II) 1976, applied on hacked / uneven background such as bare brick/block/ RCC work on walls & ceiling at all floors and locations, finished in smooth line and level etc. complete. |  | 15 | sqm
10.6 |  | Providing and applying two coats of transparent water repellant Silicon paint over stone surface including surface cleaning as per manufacturers' specs.the rate shall include the cost of scaffolding and all incidentals complete. |  | 190 | sqm
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
10.7 |  | Providing and fixing GI chicken wire mesh 24 gauge & 16mm for dissimilar material/construction joint & chasing in brik work/block work for electrical conduits or water supply pipe including cement slurry and pegs/nails with nailing machine as required before plastering etc complete. |  | 10 | sqm
10.8 |  | Fixing of glazed/unglazed ceramic or vitrified tiles at any height, backing filled with a grout of average 12 mm thick cement mortar 1:3 (1 cement : 3 coarse sand)with or withoutg grooves in between including pointing in white cement with an admixture of pigment matching the tile shade or as approved by Architect
|  | Only the ceramic tiles shall be owner supplied |  | 15 | sqm
TOTAL OF FINISHING
11 |  | WATER PROOFING
11.1 |  | Providing and laying integral cement based water proofing treatment including preparation of surface as required for treatment of roofs, balconies, terraces etc consisting of following operations: (a) Applying a slurry coat of neat cement using 2.75 kg/sqm of cement admixed with water proofing compound conforming to IS. 2645 and approved by Engineer-in-charge over the RCC slab including adjoining walls upto 300 mm height including cleaning the surface before treatment. (b) Laying brick bats with mortar using broken bricks/brick bats 25 mm to 115 mm size with 50% of cement mortar 1:5 (1 cement : 5 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge over 20 mm thick layer of cement mortar of mix 1:5 (1 cement :5 coarse sand ) admixed with water proofing compound conforming to IS : 2645 and approved by Engineer-in-charge to required slope and treating similarly the adjoining walls upto 300 mm height including rounding of junctions of walls and slabs.
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
(c) After two days of proper curing applying a second coat of cement slurry using 2.75 kg/ sqm of cement admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge. (d) Finishing the surface with 20 mm thick jointless cement mortar of mix 1:4 (1 cement :4 coarse sand) admixed with water proofing compound conforming to IS : 2645 and approved by Engineerin- charge including laying glass fibre cloth of approved quality in top layer of plaster and finally finishing the surface with trowel with neat cement slurry and making pattern of 300x300 mm square 3 mm deep. (e) The whole terrace so finished shall be flooded with water for a minimum period of two weeks for curing and for final test.“All above operations to be done in order and as directed and specified by the Engineer-in-Charge :
2011-01-01 |  | With average thickness of 125 mm and minimum thickness at khurra as 85 mm. |  | 15 | sqm
11.2 |  | Providing and laying broken china mosaic finish with broken ceramic tiles ( thkness of 6mm and sizes approx 50X50 down) over 12mm thk 1:3 cement mortar 12mm thk ( 1 cement :3 coarse sand) mixed with waterproofing compond at ratio as per manufacturers specs alongwith pointing with grey cement mixed with waterproofing compound complete |  | 30 | sqm
TOTAL OF WATER PROOFING
12 |  | PLUMBING WORKS
12.1 |  | Providing, laying and jointing double wall corragatued (DWC) HDPE pipe including testing of joints etc. complete coinferming to IS 16908 . DWC Pipe SN-8 with Coupler.the itm includes the necessary excavation in trenches at all depths, backfilling etc. complete. Only the laid length shall be measured
a) |  | 160 mm dia.-10 kg/sqm pc pipe of SUPREME or equivalent |  | 75 | Rmt
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
12.2 |  | Providing and laying 150 mm thick cement concrete 1:5:10 mix ( 1 cement : 5 coarse Sand : 10 graded stone aggregate 40 mm nominal size) alround DWC pipe including bed concrete 150 mm as per standard design.
a) |  | 160-200 mm dia. |  | 75 | Rmt
12.3 |  | Constructing brick masonry manhole chambers with S.F.R.C. cover and frame (heavy duty HD-20 grade designation) 560 mm internal dia complete as per below
2012-03-01 |  | Constructing brick masonry circular type manhole 1.0 m -1.5m deep including excavation in all kinds of soil, backfilling, disposal of surplus earth, dewatering & water proofing and centering/ shuttering as required all complete. 1.0 m internal dia at bottom and 0.6 m dia at top in cement mortar 1:4 (1 cement : 4 coarse sand), in side cement plaster 12 mm thick with cement mortar 1:3 (1 cement : 3 coarse sand) finished with a floating coat of neat cement, outside rough cement plaster 15 mm thick with CM 1:3 (1 cement:3 coarse sand), foundation concrete 1:3:6 mix (1 cement : 3 coarse sand : 6 graded stone aggregate 40 mm nominal size), and making necessary
|  | Item includes orange colour safety foot rest of minimum 6 mm thick plastic encapsulated as per IS : 10910 on 12 mm dia steel bar conforming to IS : 1786 having minimum cross section as 23 mm x 25 mm and over all minimum length 263 mm and width as 165 mm with minimum 112 mm space between protruded legs having 2 mm tread on top surface by ribbing or chequering besides necessary and adequate anchoring projections on tail length on 138 mm as per standard drawing and suitable to with stand the bend test and chemical resistance test as per specifications and having manufacture's permanent identification mark to be visible even after fixing, including fixing in manholes with 30 x 20 x 15 cm cement concrete block 1:3:6 (1 cement : 3 coarse sand : 6 graded stone aggregate 20 mm nominal size) complete as per design. |  | 1 | each
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
2012-03-02 |  | Constructing brick masonry rectangular type manhole 0.8mx0.9m -upto1.1m deep including excavation in all kinds of soil, backfilling, disposal of surplus earth, dewatering & water proofing and centering/ shuttering as required - same as described in item 12.3.1 all complete. |  | 1 | each
2012-03-02 |  | Constructing brick masonry rectangular type manhole 0.5mx0.5m -upto0.6m deep including excavation in all kinds of soil, backfilling, disposal of surplus earth, dewatering & water proofing and centering/ shuttering as required - same as described in item 12.3.1 all complete. |  | 5 | each
12.4 |  | Providing,laying,jointing, testing and commissioning of uPVC pressure pipes of 10 Kg/Sq.cm pressure rating class V (IS : 4985-2000) including fittings, tees, bends, clamps, coupling and adaptors supports, and jointing with solvent joint, testing and necessary earth work and fittings thrust blocks at bends as per standard design .the item includes the necessary excavation in trenches, fine sanfd filling around the pipes complete.
a |  | 40 mm O.D. |  | 15 | Metre
b |  | 25 mm O.D. |  | 30 | Metre
12.5 |  | Providing,constructing Rain water harvesting pit with the following operations. The item includes excavation , drilling etc.
The harvesting pit shall have internal size of 1.5mt dia and minimum static water height of 1.5mt, the harvesting pit shall have a desilting chamber of internal size 0.75mx1.35 mt. both the cmabers shall have manholes for access and services . The structure shall be with brick work-230, 345 and 460mm thk for each 600mm depth or part thereof, the covering slab shall be 200mm thick RCC slab with 10mm steel @150 C/C bothways at top and bottom.
Boring/drilling bore well of required dia for casing / stainer pipe, by suitable method prescribed in IS:2800 (part-1) including collecting samples from different strata, preparing and submitting strata chart/bore log, including hire & running charges of all equipments, tools, plants & machineries required for the job, all complete , upto 20 metre depth below ground level - of approx 300 dia.
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
Supplying, assembling, lowering and fixing in vertical position in bore well unplasticized PVC medium well screen (RMS) pipes with ribs, conforming to IS : 12818, including hire & labour charges, fittings & accessories etc, all complete, for all depths with 160 dia pipe, .
Supplying, filling, sepreading & leveling stone boulders of size range 5cm to 20cm, in recharge pit, in the required thickness, for all leads & lifts, all complete
Supplying, filling, sepreading & leveling gravels of size range 5mm to 10mm, in the recharge pit, over the existing layer of boulders, in required thickness, for all leads & lifts, all complete
|  | The item includes circular pre cast RCC manhole cover 560 dia, 100 dia vent pipe etc. all complete |  | 1 | each
Total of PLUMBING WORKS
13 |  | EXTERNAL ELECTRICAL WORKS
For the external electrical works, only the power cables and electrical points are considered. The data (cat 6 /7 cables etc. shall be incorporated at later stage and shall be paid on actual
External light fixtures and lamps are owner supplied
13.1 |  | Wiring for light fixtures in form of bollards, post top lanterns, boundary wall illimination and gate lights with 1.5sqmm FRLS PVC insulated copper conductor single core cable in surface / recessed steel conduit, with external grade waterproof modular switch, modular plate, suitable GI box and earthing the point with 1.5 sq.mm FRLS PVC insulated copper conductor single core cable etc. as required.
2013-01-01 |  | Light point including wiring etc. |  | 30 | Point
13.2 |  | Supplying and fixing 6/16 amp light socket outlet and switch with 2X2.5 sqmm FRLS PVC insulated copper wire in surface / recessed steel conduit, with external grade waterproof modular switch, modular plate, suitable GI box and earthing the point. |  | 12 | Each
S. No. |  | Description of Item |  | Qty | Unit |  | Rate |  | Amount
13.3 |  | Supplying and fixing 20 amp power socket outlet and motor switch with 2X4 sqmm FRLS PVC insulated copper wire in surface / recessed steel conduit, with external grade waterproof modular switch, modular plate, suitable GI box and earthing the point. |  | 4 | Each
13.5 |  | Supplying and drawing following sizes of FRLS PVC insulated copper conductor, single core cable in the surface/ recessed steel/ PVC conduit tp be laid as required.using 3x2.5 sqm from the external EDB |  | 80 | Metre
Total Amount